## _TOM_ Order_BoM
Purpose: Bill of Material
Project: Malt Handling - Rosedale Distiling
Schematic: CA24645901GHACMH
| ID | VENDOR |  |  | MODEL | DESCRIPTION |  | COST | TOTAL COST
| 10 | KDL | ENC | 2042067 | CSD483610 | 48Hx36Wx10D Grey Type 4 Enclosure | 1 | 477.2 | 477.2 |  |  |  | TRUE | 0 | HOFFMAN GREY TYPE 4 | 2024-03-06 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 20 | KDL | PAN | 2299116 | CP4836G | Galvanized Subpanel for 48x36 enclosure | 1 | 144.53 | 144.53 |  |  |  | TRUE | 0 | HOFFMAN SUBPANELS | 2024-03-06 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 30 | GLA | DIS | 4188551 | GLAS-R9-60-J-KIT | 60AMP CLASS J FUSED DISCONNECT UL98, PISTOL HANDLE RED/YELLOW NEM4X, 400MM SHAFT INTERNAL LUGS AND SHROUDS | 1 | 203.65 | 203.65 |  |  | 31.0 IN-LB | TRUE | 0 | EATON FUSED DISCONNECT KITS | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 40 | GLA | GND | 38927 | ADR21ITB | 2/0AWG AL 1HOLE LUG LAMLA2/0-14Q | 1 | 1.72 | 1.72 |  |  |  | TRUE | 0 | GND LUG | 2024-01-22 | ea. | 0 | 1 | 0 | 0 | 0 | 1.72 | TRUE | 0 | XXX
| 50 | KDL | FUS | 22738 | LPJ-35SP LOW PEAK | 35A Class J Time Delay Fuses | 3 | 34.42 | 103.26 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 60 | GLA | PEPP | 4424498 | 7500-MTD-BXRW-01 | Purge & Pressurization Control Unit | 1 | 1572.94 | 1572.94 |  |  | NEW!!! | TRUE | 0 | C1D2 Pressurization Unit | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 70 | GLA | PEPP | 4654752 | EPV-7500-AA-01 | Purge & Pressurization Vent (Enclosure Vent) | 1 | 439.46 | 439.46 |  |  |  | TRUE | 0 |  | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 80 | CARR |  | 7610N134 | 7610N134 | Purge & Pressurization Access | 1 | 58.59 | 58.59 |  |  |  | TRUE | 0 |  | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 90 | CARR |  | 7610N121 | 7610N121 | Purge & Pressurization Access | 1 | 26.38 | 26.38 |  |  |  | TRUE | 0 |  | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 95 | CARR |  | 91862A535 | 91862A535 | Purge & Pressurization Access | 1 | 7.9 | 7.9
| 100 | CARR |  | 7610N116 | 7610N116 | Purge & Pressurization Access | 2 | 17.08 | 34.16 |  |  |  | TRUE | 0 |  | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 110 | CARR |  | 91862A532 | 91862A532 | Purge & Pressurization Access | 1 | 7.2 | 7.2 |  |  |  | TRUE | 0 |  | 2024-10-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 120 | GLA | FSH | 4347574 | E91/30SCC | CLASS CC 1POLE FUSE HOLDER, INDICATING FLIP STYLE, 30AMP, DIN MOUNT | 1 | 11 | 11 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 130 | GLA | FSH | 4347804 | E93/30SCC | CLASS CC 3POLE FUSE HOLDER INDICATING FLIP STYLE 30AMP DIN MOUNT | 1 | 17.8 | 17.8 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 | 1 | 0 | 0 | 0 | 17.8 | TRUE | 0 | XXX
| 140 | KDL | FUS | 22684 | LP-CC-1-8/10 | 1.8A CLASS CC Time Delay Fuse | 3 | 12.86 | 38.58 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 150 | KDL | FUS | 22688 | LP-CC-15 | 15A Class CC Time Delay Fuse | 1 | 12.35 | 12.35 |  |  |  | TRUE | 0 |  | 2024-03-06 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 160 | GLA | PDB | 2456360 | UD80A | ERICO PDB (85AMP UL1059) Load: 3x10AWG & 3x4AWG | 3 | 9.76 | 29.28 |  |  |  | TRUE | 0 | UL 1059 Recognized PDBs | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 170 | GRY | PS | 25808885 | 2903154 | TRIO-PS-2G/3AC/24DC/10 | 1 | 145.26 | 145.26 |  |  |  | TRUE | 0 |  |  | ea | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 180 | GLA | CR | 3634496 | RJ1S-CLD-D24 | Relay (A2+ A1-) SPDT 12A 24VDC LED and Diode (NEED SOCKET) | 6 | 6.97 | 41.82 |  |  |  | TRUE | 0 |  | 2024-05-15 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 190 | GLA | CR | 3634498 | SJ1S-07LW | Socket for RJ1 | 6 | 3.05 | 18.03 |  |  |  | TRUE | 0 |  | 2024-01-22 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 200 | GLA | PLC | 3600487 | FC6A-C40R1CE | IDEC 40I/O 24VDC 24IN (Sink/Source) 16RO RS485 Ethernet | 1 | 326.32 | 326.32 |  |  |  | TRUE | 0 |  | 2024-09-11 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 210 | GRY | ETH | 1085256 | FL SWITCH 1008N | Phoenix Contact 1085256 Unmanaged Ethernet Switch, 8-Port, 24VDC | 1 | 120.95 | 120.95 |  |  |  | TRUE | 0 |  | 2024-10-24 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 220 | GRY | VPN | 26639444 | 1357828 | Phoenix mGuard VPN Device | 1 | 619.21 | 619.21 | 1 | FROM SHELF! |  | TRUE | 619.21 |  | 2024-05-01 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 230 | WMS | SCT | TLS | TLS Indicator | "12-24VDC, Analog Output, and RS-485/232 Serial Port, DIN Mount | 4 | 265 | 1060 |  |  |  | TRUE | 0 | TLS LOADCELL TRANSMITTER |  | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 231 | GLA | MMP | 2271750 | XTPAXLSA | EATON - B Frame 3 Pole Feeder (60A Max) | 1 | 8.41 | 8.41 | [16 empty] | XXX
| 232 | GLA | MMP | 2478979 | XTPAXCLKA4 | EATON - 3 Pole 4CMC Busbar (60A Max) | 1 | 13.26 | 13.26 | [16 empty] | XXX
| 240 | GLA | MMP | 2273200 | XTPR004BC1 | EATON - MMP - Short Circuit/Phase/OL 2.5-4.0A | 2 | 43.84 | 87.68 |  |  |  | TRUE | 0 |  | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 250 | GLA | MMP | 2271731 | XTPR6P3BC1 | EATON - MMP - Short Circuit/Phase/OL 4.0-6.3A | 1 | 43.84 | 43.84 |  |  |  | TRUE | 0 |  | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 260 | GLA | MMP | 2271733 | XTPR016BC1 | EATON - MMP - Short Circuit/Phase/OL 10.0-16.0A | 1 | 46.03 | 46.03 |  |  |  | TRUE | 0 |  | 2024-05-20 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 270 | GLA | MMP | 3612410 | XTPAXEMCB | EATON - Connecting Link for MMP/CON Frame B:B | 2 | 7.36 | 14.72 |  |  |  | TRUE | 0 | *OUR GO-TO CON LINK | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 280 | GLA | CON | 2289559 | XTCE009B10TD | EATON - 9A (20A Gen.) Contactor 3P 1 N.O. DC Coil | 2 | 31.71 | 63.42 |  |  |  | TRUE | 0 |  | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 290 | GLA | MMP | 2271754 | XTPAXFA11 | EATON - MMP Front Under Mount Auxiliary | 4 | 7.76 | 31.04 |  |  |  | TRUE | 0 |  | 2024-05-14 | ea. | 0 | 3 | 0 | 0 | 0 | 23.28 | TRUE | 0 | XXX
| 300 | GLA | VFD | 4220025 | DM1-345D6NB-S20S | DM1 PRO 3PH 480V FR1 3HP 5.6A CT NOEMC | 1 | 325.61 | 325.61 |  |  | GLA HAS (1) ON HAND AS OF 1/17/24 | TRUE | 0 |  | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 310 | GLA | VFD | 4390049 | DM1-34016NB-S20S | DM1 PRO 3PH 480V FR2 10HP 16A CT NOEMC | 1 | 707.29 | 707.29 |  |  | GLA HAS (5) ON HAND AS OF 1/17/24 | TRUE | 0 |  | 2024-05-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 320 | KDL | SR | 4338 | 440R-N23135 | AB MSR127RP Safety RLY 24VAC/DC 3NO/1NC | 1 | 182.05 | 182.05 |  |  |  | TRUE | 0 | AB SAFETY RELAY | 2024-06-14 | ea. | 0 | 1 | 0 | 0 | 0 | 182.05 | TRUE | 0 | XXX
| 330 | KDL | ES | 2582194 | 800FP-MT44PX01 | AB 800F Red Mushroom Plastic 40mm, w/ 1N.C. | 2 | 18.71 | 37.42 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 | 1 | 0 | 0 | 0 | 18.71 | TRUE | 0 | XXX
| 340 | KDL | ES | 2405867 | 800F-15YSE112 | AB 800F E-Stop Legend Plate, Yellow | 2 | 1.56 | 3.12 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 | 1 | 0 | 0 | 0 | 1.56 | TRUE | 0 | XXX
| 350 | AD | PM | PMRU-1C-480A-TL | PMRU-1C-480A-TL | PROSENSE Phase Monitor, 190-500VAC (Needs Socket) | 1 | 73 | 73 |  |  | Automation Direct | TRUE | 0 | PHASE MONITORS | 2022-06-08 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 360 | AD | PM | ACS-8 | ACS-8 | 8-PIN Relay Socket for ICM408/Prosense | 1 | 7.75 | 7.75 |  |  |  | TRUE | 0 |  |  | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 370 | FCI | PNU | P-6V100M-R2 | 6V100M Repair Kits | Blank Plate for Manifold | 1 | 0.43 | 0.43 |  |  |  | TRUE | 0 |  | 2022-08-02 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 380 | FCI | PNU | 2222-4S | C3169X4/ 04 | Hollow Hex Pipe Plug (Need Three) | 3 | 0.52 | 1.56 |  |  |  | TRUE | 0 |  | 2023-09-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 390 | FCI | PNU | BM-28 | BM-28 | Muffler 1/4" MNPT-Bronze (Need Two) | 2 | 1.42 | 2.84 |  |  |  | TRUE | 0 |  | 2023-09-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 400 | FCI | PNU | 6V210J3/8B200 | 6V210J3/8B200 | 5/3 Valve 24VDC Coil 3/8" PTC (3/8" OD Tubing) | 5 | 17.09 | 85.45 |  |  |  | TRUE | 0 |  | 2023-09-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 410 | FCI | PNU | PC3/8-N2U | PC3/8-N2U | PTC-CONN 3/8" Tube x 1/4 MNPT (Manifold Supply Connection) | 1 | 1.4 | 1.4 |  |  |  | TRUE | 0 |  | 2023-09-28 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 420 | FCI | PNU | PLJ3/8 | PLJ3/8 | PTC Elbow 90-3/8 Tube x 3/8" Plug In | 1 | 2.64 | 2.64 |  |  |  | TRUE | 0 |  |  | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 430 | FCI | PNU | 6V200M6FT | 6V200M6FT | 1/4"NPT 6 Station Valve Subplate for 3/8" PTC | 1 | 9.44 | 9.44 |  |  |  | TRUE | 0 |  |  | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 440 | SCE | ENC |  | CAL17-20ELG2008SSLP | SS 20X20X08 Modified Enclsoure (qty based on 10) (Cellar) | 1 | 597.66 | 597.66 |  |  | SUB PANEL COST = $63.99 | TRUE | 0 |  | 2023-06-02 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0
| 441 | SCE | ENC |  |  | SUBPANEL | 1 | 63.99 | 63.99
| 450 | KDL | PL | 2156399 | 800FP-P4PN3R | Red Pilot Light 24VDC | 2 | 15.16 | 30.32 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 460 | KDL | SW | 2155095 | 800FP-SM22PX10 | AB 2POS 1NO SWITCH BLACK | 1 | 11 | 11 |  |  |  | TRUE | 0 |  | 2024-06-14 | ea. | 0 |  | 0 | 0 | 0 | 0 |  | 0 | XXX
| 470 | GLA | HMI | 3970347 | HG4G-VCXT22MF-B | IDEC 12.1 65K Color 1024X768 Resolution 24VDC | 1 | 1142.11 | 1142.11 |  |  |  | TRUE | 0 |  | 2024-09-11 | ea. | 0 | 1 | 0 | 0 | 0 | 1142.11 | TRUE | 0 | XXX
9111.07
ADD 10%
10022.177